## Summary
SAFDA FARM MANAGEMENT SERVICES COMPANY (PTY) LTD |  | SUMMARY
TENDER NO.: 10969/1/2/C1 |  | DECEMBER 2020
MKHUZE RAIL SIDING PROJECT - PHASE 2
SUMMARY [TENDER № 10969/1/2/C1]
Section | Description | Amount
1 | PRELIMINARY & GENERAL FIXED CHARGES
2 | ROADWORKS & EARTH WORKS WORKS, STORMWATER, EQUIPMENT
2.1 | TRUCK STAGING YARD AND HARDSTAND, STORMWATER
2.2 | CABLE DUCTING
2.3 | PILLING
2.4 | WEIGHBRIDGES FOUNDATIONS AND STEELWORK AND EQUIP
2.5 | HILO OFFLOADER FOUNDATIONS AND INSTALL
2.6 | SPILLER WALL STEELWORK, FOUNDATIONS AND LOADING AREA
3 | BUILDING WORKS
3.1 | BUILDING STRUCTURAL REMIDIAL
3.2 | BUILDING ELECTRICALS
3.3 | PLUMBING
3.4 | SEWER GRAVITY MAIN
3.5 | WATER MAIN
3.6 | DAYWORKS
3.7 | DIESEL GENERATOR ROOF STRUCTURE
3.8 | BUILDING REFURB (ARCHITECTURAL)
4 | GEN ELECTRICAL WORKS
SUBTOTAL A
CONTINGENCIES (10% OF SUBTOTAL A)
SUBTOTAL B
VALUE ADDED TAX (15% TO SUBTOTAL B)
TOTAL INCL. VAT CARRIED TO FORM OF OFFER

## Section 1-P&G
SAFDA FARM MANAGEMENT SERVICES COMPANY (PTY) LTD |  |  | SECTION 1: P & G's
TENDER NO.: 10969/1/2/C1
MKHUZE RAIL SIDING PROJECT - PHASE 2 |  |  | DECEMBER 2020
Item № | Payment Refers | Description | Unit | Qty | Rate | Amount
1. |  | SECTION 1 :
PRELIMINARY & GENERAL
| SABS 1200A | FIXED CHARGES
1.1 | 8.3.1 | Contractual requirements | Sum | 1
| 8.3.2 | Establishment of facilities on site:
| 8.3.2.1 | Facilities for Engineer (SABS 1200AB)
1.2 | PSAB 1 | Nameboard (1 №) | Sum | 1
1.3 | PSAB 2 | Office building (only rain gauge Installation) | Sum | 1
1.4 | PSAB 2 | Provision of (1 №) Cellular phone for use by Engineer's representative | Sum | 1
1.5 | PSAB 3 | Survey assistant, survey equipment and materials and rain gauge installation | Sum | 1
Facilities for Contractor
1.6 |  | Offices, storage sheds, fencing, etc. | Sum | 1
1.7 |  | Ablution and latrine facilities | Sum | 1
1.8 |  | Water supplies, electric power and communications, dealing with water and access | Sum | 1
1.9 |  | Tools and equipment | Sum | 1
1.1 |  | Construction plant | Sum | 1
1.11 | 8.3.3 | Other fixed charge obligations | Sum | 1
1.12 | 8.3.4 | Remove all site establishment on completion | Sum | 1
1.13 | PSA 2 | Provision of access to properties as specified in Clause PSA 2 | Sum | 1
1.14 | PSA 4 | General Safety, Safety Plan, Monitoring and Review. The sum shall include all costs necessary in complying with the Occupational Health and Safety Act (1993 as amended) and the Construction Regulations (2014) | Sum | 1
1.15 | PSA 4 | Site Stormwater Management | Sum | 1
1.16 | PSA 4 | Compliance with Environmental Management Plan | Sum | 1
| SABS 1200A | TIME RELATED ITEMS
1.17 | 8.4.1 | Contractual requirements | Weeks | 16
1.18 | 8.4.2 | Operate and maintain facilities on site | Weeks | 16
Section 1 carried forward
Section 1 brought forward
| 8.4.2.1 | Facilities for Engineer for duration of contract (SABS 1200AB)
1.19 | PSAB 1 | Nameboard (1 №) | Weeks | 16
1.2 | PSAB 2 | Provision of 1 № Cellular phone for use by Engineer's representative | Weeks | 16
1.21 | PSAB 2 | Offices (only rain gauge Installation) | Weeks | 16
1.22 | PSAB 3 | Survey assistant, equipment and materials | Weeks | 16
1.23 | PSAB 2 | Provision of rain gauge installation | Weeks | 16
1.24 | PSAB 3 | Provision of the following staff, accommodation and equipment
|  | (a) Survey Assistant (S2/S3) | Weeks | 16
|  | (b) Accommodation for Survey Assistant (S2/S3) | Weeks | 16
Facilities for Contractor for the duration of the Contract
1.25 |  | Office, storage sheds, fencing, etc. | Weeks | 16
1.26 |  | Ablution and latrine facilities | Weeks | 16
1.27 |  | Water supplies, electric power and communications, dealing with water and access | Weeks | 16
1.28 |  | Tools and equipment | Weeks | 16
1.29 | 8.4.3 | Supervision for duration of construction | Weeks | 16
1.3 | 8.4.4 | Company and head office overhead costs | Weeks | 16
1.31 | 8.4.5 | Other time charge related obligations | Weeks | 16
1.32 | PSA 2 | Provision of access to properties as specified in Clause PSA 2 | Weeks | 16
1.33 | PSA 4 | Site Stormwater Management | Weeks | 16
1.34 | PSA 4 | Compliance with Environmental Management Plan | Weeks | 16
TEMPORARY WORKS
1.35 | 8.8.2 | Dealing with traffic | Sum | 1 |  | 10000
Section 1 carried forward
Section 1 brought forward
| SABS 1200A | SUMS STATED PROVISIONALLY BY THE ENGINEER
1.36 | PS 8 | Proving of existing services where ordered by the Engineer (Prov.) | Sum | 1 | 10000 | 10000
1.37 | PS 8 | Relocation of existing services where ordered by the Engineer (Prov.) | Sum | 1 | 25000 | 25000
1.38 | 8.5 | Allow provisional sum for repairs to damaged Telkom, electrical or other services which could not have been reasonably foreseen or prevented by the Contractor (Prov.) | Sum | 1 | 50000 | 50000
1.39 |  | Contractors mark-up on Item 1.36 to 1.38 | % | 85000
1.4 | PSDB 11 | Allow provisional sum for Earthworks (Pipe Trenches) testing, where ordered by the Engineer (Prov.) | Sum | 1 | 10000 | 10000
1.41 | PSLB 7 | Allow provisional sum for density testing for bedding of pipes, where ordered by the Engineer (Prov.) | Sum | 1 | 10000 | 10000
1.42 |  | Contractors mark-up on Items 1.40 to 1.41 | % | 20000
1.43 |  | Allow for provisional sum for Community Liaison Officer | Sum | 1 | 30000 | 30000
1.44 |  | Contractors mark-up on Item 1.43 | % | 30000 |  | 0
1.45 |  | Allow for provisional sum for road signage | Sum | 1 | 50000 | 50000
1.46 |  | Confirm water main flow rate and pressure by test | Sum | 1
1.47 |  | As built, operations and maintenance documentation | Sum | 1
1.48 |  | 12 months maintenance | Sum | 1
Total Carried Forward to Summary

## Section 2 Roads & Earthwk
SAFDA FARM MANAGEMENT SERVICES COMPANY (PTY) LTD |  |  | SECTION 2: ROADS AND EARTHWORKS
TENDER NO.: 10969/1/2/C1
MKHUZE RAIL SIDING PROJECT - PHASE 2 |  |  | DECEMBER 2020
Item No | Payment | Description | Unit | Qty | Rate | Amount
Refers
2 |  | SECTION 2: TRUCK STAGING YARD
AND HARDSTAND
| SABS 1200C | EARTHWORKS
2.1 | 8.2.1 | Clear and strip vegetation | m² | 5502
2.2 | 8.2.9 | Transport materials and debris to:
|  | a) Nearest official dumpsite (Prov.) | m³ | 1914.6
2.3 | 8.2.10 | Remove topsoil to nominal depth 300mm and stockpile for re-use | m³ | 1914.6
SABS 1200D
2.4 | 8.3.2 a) PSA 4 | Excavate in all materials and use for embankment or backfill or dispose as ordered
|  | i) Cut or borrow to fill from site and surrounds and used in embankment compacted in layers not greater than 300mm thick by six passes of a 5 sided impact roller of mass 10t | m³ | 100
|  | ii) Construct top 300mm of formation compacted to 93% MAASHTO density using conventional smooth wheeled vibratory rollers | m³ | 2915
|  | iii) Cut to stockpile from within site boundaries selected fill material for reuse in layerworks | m³ | 325
|  | iv) Undercut unsuitable material and dispose of offsite to spoil (Prov) | m³ | 10
2.5 | 8.3.4 | Procure from commercial/contractors sources G9 material | m³ | 185
2.6 | 8.3.9 PSA 4 | Extra over item 1.4, 1.13, 1.14 and 1.15 for restricted backfill or filling and compacting against structures | m³ | 50
2.7 | 8.3.3 | Rip and recompact existing insitu material 150mm deep to 93% Mod AASHTO at optimum moisture content | m³ | 1512.45
2.8 | 8.3.8.1 | Excavate by hand in soft material to expose existing services | m³ | 5
2.9 | 8.3.10 | Topsoiling 75 mm thick with material to banks and islands from stockpile | m² | 280
2.1 | 8.3.11 | Grassing - supply and plant kikuyu runners | m² | 280
2.11 |  | Remove and grub large trees and tree stumps of girth:
|  | a) Over 1m up to and including 2m | No. | 1
WEARING COURSE FOR ENTRANCE ROAD AND TRUCK STAGING YARD
| SABS 1200DM | SUBGRADE (ROADS)
2.13 | 8.3.3 | Construct G7 subbase layer up to 150mm thick compacted to 95% MAASHTO density with material from commercial sources | m³ | 434.65
Total carried forward
Total brought forward
2.14 | 8.3.3 | Construct G7 subbase layer up to 150mm thick compacted to 95% MAASHTO density with material from stockpile | m³ | 200
| SABS 1200MF | BASE
2.15 | 8.3.3 | Construct wearing course layer as per Colto specification up to 150mm thick compacted to 95% MAASHTO density with material from commercial sources | m³ | 634.65
LAYERWORKS FOR WEIGHBRIDE ROAD, RAMP AND CANE OFFLOADING AREA
| SABS 1200DM | SUBGRADE (ROADS)
2.16 |  | Supply, place and compact 2 x 300mm thick Dump Rock layers (first crush) from Commercial Source (using padfoot roller min. 5 passes with no vibration) | m³ | 171.6
2.17 | PSA4 | Supply and lay A6 Bidim (or similar approved) (Rate to include for suppliers overlap) | m² | 572
2.18 | PSA4 | Supply and lay 'Macaferri Flexmesh 3.9mm transverse rod diameter laid at right angles to the 'Macaferri Roadmesh' (rate to include for suppliers overlap) | m² | 572
2.19 | 8.3.3 | Construct G7 subbase layer up to 150mm thick compacted to 95% MAASHTO density with material from commercial sources | m³ | 275.25
| SABS 1200ME | SUBBASE
2.20 | 8.3.3 | Construct G5 layer up to 150mm thick compacted to 95% MAASHTO density with material from commercial sources | m³ | 121.8
| SABS 1200 MF | BASE
2.21 | 8.3.3 | Construct wearing course layer as per Colto specification up to 150mm thick compacted to 95% MAASHTO density with material from commercial sources | m³ | 275
2.22 | 8.3.3 | Construct C3 basecourse layer with materials from a comercial source :
|  | i) 150mm thick supply and placement | m³ | 121.8
2.23 | 8.3.5 | Process by means of :
|  | a) stabilisation | m³ | 121.8
2.24 | 8.3.8 | Stabilising Agent:
|  | a) Portland Cement | t | 6.5772
Total carried forward
Total brought forward
| SABS 1200G | CONCRETE (Structural)
2.25 | 8.4.3 | Construct 35MPa strength concrete surfacing using 19mm aggregate (flexural strength of 4.2MPa) for:
|  | i) 150 mm thick slab | m³ | 122
|  | ii) Edge restraint to slab | m³ | 7
2.26 | 8.4.4 | Wood float finish to concrete hard stand | m² | 820
| 8.2 | SCHEDULED FORMWORK
2.27 |  | Rough formwork to panels (up to 200mm incl. on radii) | m² | 147.6
JOINTS
2.28 | 8.5 | Construct joints complete as per detail on Dwg. No. 10969-001-002-RLA-0001
|  | i) Construction Joints (CJ) complete (rate to include for bond breaker applied prior to second pour) | m | 75
|  | ii) Isolation Joints (IJ) complete | m | 25
|  | iii) Saw Cut Joints (SJ) complete | m | 270
REINFORCEMENT
2.29 | 8.3.2 | Ref 395 weldmesh (Rate to include for spacers and stirrups to support mesh) | m² | 475
| SABS 1200MM | ANCILLARY ROADWORKS
2.3 | 8.2.1 | a) Supply and install galvanised guardrails on wooden posts complete | m | 50
2.31 | 8.2.3 | End wings | No | 4
ROAD SIGNS
2.32 | 8.3.1 & 8.3.2 | Road signs with retroflective materials background, symbols, characters, legends and borders constructed from aluminium sheet 2,0mm thick up to area of 2.0m² | m² | 4
2.33 | 8.3.3 | Strength group B timber posts
|  | i) 100mm diameter | m | 30
2.34 | 8.3.4 | Excavating, concreting and backfilling of sign supports | m³ | 10
| 8.4 | ROAD MARKINGS
2.35 | 8.1.1c & 8.4.4 | Non-reflectorised white paint applied at 0,42 litre/m2
|  | i) white/yellow character and symbols | m² | 1
|  | ii) yellow island hatching | m² | 5
|  | iii) 100mm white lines | m | 25
|  | iv) 100mm yellow lines | m | 25
|  | v) 200mm white lines | m | 25
|  | vi) 300mm white lines | m | 25
2.36 |  | Supply and install new 2m galvanised and PVC coated diamond mesh fencing with concrete posts and razer flat rap to match existing | m² | 700
Total Carried Forward to Summary

## Section 2.2 Cable Ducts
SAFDA FARM MANAGEMENT SERVICES COMPANY (PTY) LTD |  |  | SECTION 2: CABLE DUCTS
TENDER NO.: 10969/1/2/C1
MKHUZE RAIL SIDING PROJECT - PHASE 2 |  |  | DECEMBER 2020
Item No | Payment | Description | Unit | Qty | Rate | Amount
Refers
2.2 |  | CABLE DUCTING
COMMUNICATIONS
| SABS 1200C & PSC 8.2.2 | Site Clearance and Demolition Works
2.2.1 |  | Provide all labour and equipment to remove existing cables, cable ducts and junction manholes once disconnected | m | 20
| SABS 1200DB | Earthworks (Pipe Trenches)
2.2.2 | 8.2.2 | Excavation in all materials for trenches, backfill, compact and dispose of surplus material for pipes up to 160mm dia. for depths
Over up to and Including
|  | a) 1,0m 1,5m to invert | m | 5
|  | b) 1,0m 2,0m to invert | m | 5
ELECTRICAL
| SABS 1200DB | Earthworks (Pipe Trenches)
2.2.3 | 8.3.2 | Excavate in all materials for trenches, backfill, compact and dispose of surplus material for pipes up to 110mm dia. for depths
Over up to and Including
|  | a) 0,0m 1,0m to invert | m | 455
|  | b) 1,0m 2,0m to invert | m | 5
| SABS 1200LC | CABLE DUCTS (Communications and Electrical)
& PSLC
2.2.4 | 8.2.5(b) | Supply , lay and bed including draw wire and end caps the following (Refer to Drg. No. 1101/77/3013):
|  | a) 110 mm dia. CL9 uPVC | m | 315
|  | b) 160 mm dia. CL9 uPVC | m | 10
|  | c) 110 mm dia. CL9 uPVC 90 deg. bends to light mast bases | No. | 5
MANHOLES
2.2.5 | 8.2.7 | Provide all materials, plant and labour to construct cable duct manholes / drawpits complete as detailed on Drg. No. 10969-001-002-RLA-0001 | No. | 12
CONCRETE ENCASING (PROV.)
2.2.6 | 8.2.7 | Provide all materials, plant and labour to concrete encase the cable ducts | m³ | 10
Total Carried Forward to Summary

## Section 2.3 Piling
SAFDA FARM MANAGEMENT SERVICES COMPANY (PTY) LTD |  |  | SECTION 2: PILING
TENDER NO.: 10969/1/2/C1
MKHUZE RAIL SIDING PROJECT - PHASE 2 |  |  | DECEMBER 2020
Item No | Payment | Description | Unit | Qty | Rate | Amount
Refers
2.3 |  | PILING
2.3.1 |  | Provide piling guarantee and insurance | sum | 1
2.3.2 |  | Bond Cost - Performance | sum | 1
2.3.3 |  | Bond Cost - Surety | sum | 1
2.3.4 |  | Transport and establish on site all necessary plant for the execution of the work and removal on completion | sum | 1
2.3.5 |  | Standing time for piling rig and crew (provisional) | hour | 10
2.3.6 |  | Prepare and submit professional report based on sonic impact frequency response tests | no | 1
2.3.7 |  | Undertake sonic impact frequency response tests on site. Sum all inclusive of labour, transport, accommodation etc. | no | 10
2.3.8 |  | Transport and establish on site all necessary plant for DPSH testing of insitu soils and removal on completion | sum | 1
2.3.9 |  | Design pile based on DPSH information, undertaken by a professional pile designer. | sum | 1
600 kN Piles Weighbridge
2.3.10 |  | Set up plant at pile position | no | 10
2.3.11 |  | Manufacture, reinforce, supply, deliver and drive and joint piles complete to carry 600 kN vertical load and 50 kN horizontal load | m | 150
2.3.12 |  | Trim piles to cut off level, expose rebar and remove rubble from site. Allow 1m of trim per pile | no | 10
450 kN Piles Weighbridge
2.3.13 |  | Set up plant at pile position | no | 16
2.3.14 |  | Manufacture, reinforce, supply, deliver and drive and joint piles complete to carry 450 kN vertical load and 50 kN horizontal load | m | 240
2.3.15 |  | Extra over for raking piles 1:10 | m | 40
2.3.16 |  | Trim piles to cut off level, expose rebar and remove rubble from site. Allow 1m of trim per pile | no | 16
80 kN Tension Piles Hilo Loader
2.3.17 |  | Set up plant at pile position | no | 6
2.3.18 |  | Manufacture, reinforce, supply, deliver and drive and joint piles complete to carry 80 kN in vertical tension and 50 kN horizontal load | m | 90
2.3.19 |  | Trim piles to cut off level, expose rebar and remove rubble from site. Allow 1m of trim per pile | no | 6
Total carried forward
Total brought forward
250 kN Piles Hilo Loader
2.3.20 |  | Set up plant at pile position | no | 8
2.3.21 |  | Manufacture, reinforce, supply, deliver and drive and joint piles complete to carry 250 kN vertical load and 50 kN horizontal load | m | 120
2.3.22 |  | Trim piles to cut off level, expose rebar and remove rubble from site. Allow 1m of trim per pile | no | 8
Total Carried Forward to Summary

## Section 2.4 Weighbridge
SAFDA FARM MANAGEMENT SERVICES COMPANY (PTY) LTD |  |  | SECTION 2: WEIGHBRIDGE FOUNDATION
TENDER NO.: 10969/1/2/C1
MKHUZE RAIL SIDING PROJECT - PHASE 2 |  |  | DECEMBER 2020
Item No | Payment | Description | Unit | Qty | Rate | Amount
Refers
2.4 |  | BILL NO
WEIGHBRIDGES FOUNDATIONS AND STEELWORK
EARTHWORKS
2.4.1 |  | Excavate and backfill in soft material not exceeding 2.0m deep | m3 | 200
2.4.2 |  | Rip, trim and recompact bottom layer of foundation excavations to 95% MAASHTO to depth of 300mm | m² | 250
2.4.3 |  | Import G6 material as fill compacted in 150 mm layers to 98% MOD AASHTO | m3 | 73
2.4.4 |  | Import G6 material as working platform layer for piling rig, compacted in 150 mm layers to 98% MOD AASHTO | m3 | 38
2.4.5 |  | Cart away and dispose off site surplus material within 3 kms | m3 | 120
FORMWORK
Rough formwork
2.4.6 |  | To sides of ramps including pile caps and ground beams | m2 | 66
2.4.7 |  | To sides of pile caps 750mm deep | m2 | 30
2.4.8 |  | To sides of ground beams | m2 | 34
Smooth formwork
2.4.9 |  | To sides of 600x600 stub columns | m2 | 23
2.4.10 |  | Smooth narrow widths 250mm wide to sides of foundations | m | 10
2.4.11 |  | Smooth narrow widths to sides of exposed ramp and slab | m | 56
REINFORCEMENT
High tensile steel bars - All Diameters
2.4.12 |  | In pilecaps and concrete at ground floor level | kg | 17000
2.4.13 |  | Mesh ref 395 | m2 | 88
CONCRETE (structural)
Blinding 15 MPa/19mm to
2.4.14 |  | Pile caps and bases | m2 | 215
Total carried forward
Total brought forward
Strength Concrete 30 MPa/19mm
2.4.15 |  | Pile caps, floor slabs ,bases and ramps | m³ | 140
2.4.16 |  | Mass concrete stair | m³ | 1
2.4.17 |  | Screed to manholes | m³ | 1
Unformed Surface Finishes
2.4.18 |  | Steel Float Finish | m² | 38
2.4.19 |  | Wood Float Finish | m² | 200
Jointing
2.4.20 |  | 20mm wide isolation joint with 20mm thick approved compressible joint filler complete with 12 x 12mm tear off strip and polysulphide sealant. | m | 10
BOLTS AND ANCHORS
Supply, set in place bolts, etc
2.4.21 |  | Supply and install M20 250mm long Hilti Hit RE 500 chemical Anchors to guardrail post | No | 72
MISCELLANEOUS
2.4.22 |  | Supply and install 70x70x8 angles with fishtail lugs at 500 centres, HDG to SANS specifications | kg | 120
2.4.23 |  | Supply and install galvanised guardrails with all necessary hardware to be fixed to steel posts at 3000 centres | m | 30
2.4.24 |  | Supply and install galvanised guardrails end wings | No | 8
2.4.25 |  | Supply and install galvanised 203x203x46UC Guardrail post 1250mm long with 450x450x16 Thk Side Base plate | No | 16
WEIGHBRIDGE & ACCESSORIES
2.4.26 |  | Supply Install propriety Weighbridge (C1W) load, cells, cabling, junction boxes, Camera's, hardware and software and commission. As per 10969-001-2040-R-0001 | No | 2
Total Carried Forward to Summary

## Sect 2.5 Hilo Unloader
SAFDA FARM MANAGEMENT SERVICES COMPANY (PTY) LTD |  |  | SECTION 2: HILO UNLOADER FOUNDATION
TENDER NO.: 10969/1/2/C1
MKHUZE RAIL SIDING PROJECT - PHASE 2 |  |  | DECEMBER 2020
Item No | Payment | Description | Unit | Qty | Rate | Amount
Refers
BILL NO 4
2.5 |  | HILO OFFLOADER FOUNDATIONS
FORMWORK
Rough formwork
2.5.1 |  | To sides of caps and ground beams | m2 | 33
Smooth formwork
2.5.2 |  | Smooth narrow widths to sides of exposed ramp and slab | m | 25
REINFORCEMENT
High tensile steel bars - All Diameters
2.5.3 |  | In pilecaps and concrete at ground floor level | kg | 2350
CONCRETE (structural)
Blinding 15 MPa/19mm to
2.5.4 |  | Pile caps and bases | m2 | 13
Strength Concrete 30 MPa/19mm
2.5.5 |  | Pile caps, floor slabs ,bases and ramps | m³ | 17
Unformed Surface Finishes
2.5.6 |  | Wood Float Finish | m² | 13
ANCHOR BOLTS
2.5.7 |  | M50 Holding down bolt 1500mm long with and including two nuts, washers and 110 x 110 x 14mm thick plate welded to bolts, including bending, threading and embedment into concrete | No | 4
2.5.8 |  | M50 Holding down bolt 1000mm long with and including two nuts, washers and 110 x 110 x 14mm thick plate welded to bolts, including bending, threading and embedment into concrete | No | 8
SUPPLY & INSTALL OF HILO-UNLOADER (SPILLER)
2.5.9 |  | Supply and Install Hilo Installation (C1Hi) as per 10969-001-2040-R-0006 (Exc 4.13 below) | SUM | 1
2.5.10 |  | Design, Supply and Install hydraulic power pack for the Hilo Unloader | Prov Sum | 1 | 50000
Total Carried Forward to Summary

## Sec 2.6 Spiller Wall
SAFDA FARM MANAGEMENT SERVICES COMPANY (PTY) LTD |  |  | SECTION 2: SPILLER WALL
TENDER NO.: 10969/1/2/C1
MKHUZE RAIL SIDING PROJECT - PHASE 2 |  |  | DECEMBER 2020
Item No | Payment | Description | Unit | Qty | Rate | Amount
Refers
2.6 |  | BILL NO 5
SPILLER WALL STEELWORK, FOUNDATIONS AND LOADING AREA
2.6.1 |  | Excavate and backfill in soft material not exceeding 0.6m deep | m3 | 50
2.6.2 |  | Cart away and dispose off site surplus material within 3 kms | m3 | 50
FORMWORK
Smooth formwork
2.6.3 |  | To sides of Slabs and Foundations | m2 | 16
REINFORCEMENT
High tensile steel bars - All Diameters
2.6.4 |  | In Spiller Wall Foundation | kg | 2700
CONCRETE (structural)
Blinding 15 MPa/19mm to
2.6.5 |  | Spiller wall foundation | m2 | 45
Strength Concrete 30 MPa/19mm
2.6.7 |  | Spiller Wall Foundation 15m x 3m x0.4m deep | m³ | 18
Unformed Surface Finishes
2.6.8 |  | Wood Float Finish | m² | 340
STRUCTURAL STEEL
Bolted columns and beams with flat base, cap, bearer and connection plates
2.6.9 |  | 254 x 254 x 76kg/m UC Vert Column ( 9 x 3.7m Lengths) | m | 33.102
2.6.10 |  | 254 x 254 x 76kg/m UC Sloping Column (9 x 4.2m Lengths) | m | 37.8
2.6.11 |  | 254 x 254 x 76kg/m UC Beams (16 X 1.59m Lengths) | m | 16
2.6.12 |  | 90 x 90 x 10 EA Bracing Beams (32 X 1.59m Lengths) | m | 50.8
BOLTS AND ANCHORS
Supply, set in place bolts, etc
2.6.13 |  | Hot dipped Galvanised High tensile M16 bolts (class 8.8) with Nots and Washers | No | 118
2.6.14 |  | Supply and install M20 250mm long Hilti Hit RE 500 chemical Anchors | No | 72
MISCELLANEOUS
2.6.15 |  | 150 x 150 Hardwood Beam fixed to steel frame | m | 12.5
Total Carried Forward to Summary

## Section 3.1 Building Remidials
SAFDA FARM MANAGEMENT SERVICES COMPANY (PTY) LTD |  |  | SECTION 2: BUILDING REM
TENDER NO.: 10969/1/2/C1
MKHUZE RAIL SIDING PROJECT - PHASE 2 |  |  | DECEMBER 2020
Item No | Payment | Description | Unit | Qty | Rate | Amount
Refers
3 |  | BILL NO 3
CANTEEN AND ABLUTIONS
FORMWORK
Smooth formwork
3.1 |  | To Mezzanine Slab | m² | 10
REINFORCEMENT
High Tensile steel bars - All diameters
3.2 |  | Mezzananine slab | kg | 350
CONCRETE
Strength Concrete 30 MPa / 19mm
3.3 |  | To 200mm thick mezzanine slab | m3 | 2
UNFORMED FINISHES
Wood float finish
3.4 |  | To floor slab | m² | 10
STRUCTURAL STEEL
3.5 |  | Bolted and welded Galvanised steel steel stair treads and stringers and handrails complete including bolts to steel and concrete, connection plates | kg | 350
3.6 |  | Cutting back roof steel cantilever, disposal of a steel and making good | m² | 120
3.7 |  | Hot Dipped Galvanised 150x75x20x2.5 CFLC | m | 277.5
3.8 |  | Hot Dipped Galvanised Bracing 60x60x6EA | m | 84
3.9 |  | 300 long 150x150 EA bolted to beam and chem anchored into brickwork with 2 x Hilti HIT RE 500 M16 Chem Anchors | No | 4
3.1 |  | Grind smooth and make good flame cut 254x146UB column bottom and treat with Cold Galv | No | 8
ROOF
3.11 |  | Remove and dispose of existing asbestos roof sheeting | m² | 120
3.12 |  | Supply and install 0.8 chromodeck IBR sheeting including all fixings | m² | 310
3.13 |  | Flashing 462mm girth to match "IBR 686" roof sheeting as per manufactures specification and detail complete | m | 52
3.14 |  | Supply and install new 150x100 zinculume rolled gutters | m | 37
3.15 |  | Supply and install new Downpipes | No | 4
Total Carried Forward to Summary

## Section 3.2 Building Electrical
SAFDA FARM MANAGEMENT SERVICES COMPANY (PTY) LTD |  |  | SECTION 3: ELECTRICAL
TENDER NO.: 10969/1/2/C1
MKHUZE RAIL SIDING PROJECT - PHASE 2 |  |  | DECEMBER 2020
Item No | Payment | Description | Unit | Qty | Rate | Amount
Refers
3.2 |  | LIGHTING & SUNDRY ITEMS
Price shall be inclusive ccg terminal box, bolts, clips, 5a plugs and socket outlets, etc. All external lights shall be terminated into the ccg box. The installation shall be done in accordance with the lighting manufacturers detail design. All light fittings, switches etc shall be labelled in accordance with the sans regulations. All emergency fittings are to have integral, self contained, maintained battery back-up of 50% of lumen output for 1 hour
3.2.1 |  | Type a: beka vapourline 2x58w t5 ip65 luminaire or similar approved complete with mounting accessories | ea | 13
3.2.2 |  | Type ae: beka vapourline 2x58w t5 ip65 luminaire luminaire or similar approved emergency version complete with mounting accessories | ea | 3
3.2.3 |  | Type b: 36w cfl bulkhead ip65 complete with mounting accessories for trunking | ea | 17
3.2.4 |  | Emergency exit light led and battery back-up with 1 x 8w t5 lamp & charging led indicator & electronic control gear - maintained operation ni cad battery backup for 2,6 hrs at 40% light output surface / wall mounted | ea | 2
3.2.5 |  | Lighting Switches - c/w wall boxes - 1 lever 2 Way | ea | 6
3.2.6 |  | Lighting Switches - c/w wall boxes - 1 Lever 1 Way | ea | 3
3.2.7 |  | Day Light Switch / Photo-Electric Cell | ea | 1
SMALL POWER
3.2.8 |  | 100x100 wall box for - single Socket outlet | ea | 7
3.2.9 |  | 100x150 wall box for - Switch outlet | ea | 9
3.2.10 |  | 16A double switched socket outlet c/w wall boxes | ea | 2
3.2.11 |  | 16A single switched socket outlet | ea | 7
3.2.12 |  | Surface mounted IP65 32A Double Pole Isolator - Roller Shutter Doors | ea | 4
3.2.13 |  | DB-WORKSHOP including all accessories as per drawings | Sum | 1
3.2.14 |  | 60A 1phase; 5kA MCB curve C installed in substation or nearby electrical distribution kiosk including all mouninting and termination accessories. | Sum | 1
Total carried forward
Total brought forward
CONDUCTORS
600/1000V grade PVC housewire installed stranded copper conductor drawn in conduits or wireways
3.2.15 |  | 2.5mm² | m | 400
3.2.16 |  | 4mm² | m | 400
3.2.17 |  | 6mm² | m | 1 |  | Rate only
Earth conductor drawn in conduits or wireways
3.2.18 |  | 2.5 mm² bare
3.2.19 |  | Supply | m | 1 |  | Rate only
3.2.20 |  | Install | m | 1 |  | Rate only
3.2.21 |  | 2.5mm² insulated
3.2.22 |  | Supply | m | 800
3.2.23 |  | Install | m | 800
3.2.24 |  | 4mm² insulated
3.2.25 |  | Supply | m | 1 |  | Rate only
3.2.26 |  | Install | m | 1 |  | Rate only
3.2.27 |  | 6mm² insulated
3.2.28 |  | Supply | m | 1 |  | Rate only
3.2.29 |  | Install | m | 1 |  | Rate only
3.2.30 |  | 10 mm² insulated
3.2.31 |  | Supply | m | 1 |  | Rate only
3.2.32 |  | Install | m | 1 |  | Rate only
Earth conductor drawn in conduits or wireways
CABLES [cable lengths are estimated - Claims to be based on actual cable length installed by contractor]
Cable installation Incl U-clamps, tag numbers and cable straps. Supply deliver to site and store 1000/600 volt Cu / PVC / SWA/PVC/ECC cables. Install, rack, strap and testing of cables as per specification including clamps, ties and cable numbering system. Rates to include for wastage. Contractor will only be reimbursed for installed cable measured on site between terminations. Cable bonding of all Earth Continuity Conductors from the incoming and outgoing cables will be properly crimped into cable lugs and bolted to their respective earth bars.
4 mm² 2c 1000/600 volt Cu / PVC / SWA+ECC/PVC cable
3.2.33 |  | Supply and delivery | m | 1 |  | Rate only
3.2.34 |  | Installation | m | 1 |  | Rate only
Total carried forward
Total brought forward
4 mm² 4c Cable 1000/600 volt Cu / PVC / SWA+ECC/PVC cable
3.2.35 |  | Supply and delivery | m | 1 |  | Rate only
3.2.36 |  | Installation | m | 1 |  | Rate only
6 mm² 2c 1000/600 volt Cu / PVC / SWA+ECC/PVC cable
3.2.37 |  | Supply and delivery | m | 1 |  | Rate only
3.2.38 |  | Installation | m | 1 |  | Rate only
6 mm² 4c 1000/600 volt Cu / PVC / SWA+ECC/PVC cable
3.2.39 |  | Supply and delivery | m | 1 |  | Rate only
3.2.40 |  | Installation | m | 1 |  | Rate only
10 mm² 4c 1000/600 volt Cu / PVC / SWA+ECC/PVC cable
3.2.41 |  | Supply and delivery | m | 1 |  | Rate only
3.2.42 |  | Installation | m | 1 |  | Rate only
16 mm² 4c 1000/600 volt Cu / PVC / SWA+ECC/PVC cable
3.2.43 |  | Supply and delivery | m | 1 |  | Rate only
3.2.44 |  | Installation | m | 1 |  | Rate only
TERMINATIONS
Cable terminations & Joints - Incl glands, cable numbers, wire numbers, lugs. For PVC/SWA/PVC/ECC cables, shall include supply installation and testing of the IP 65 glands with corrosion guard, making -off the cable, gland plate, switchgear or appliance and final connection of cable tails into board or terminals.
4 mm² 2c 1000/600 volt Cu / PVC / SWA+ECC/PVC cable
3.2.45 |  | Supply and delivery | No. | 1 |  | Rate only
3.2.46 |  | Installation | No. | 1 |  | Rate only
4 mm² 4c 1000/600 volt Cu / PVC / SWA+ECC/PVC cable
3.2.47 |  | Supply and delivery | No. | 1 |  | Rate only
3.2.48 |  | Installation | No. | 1 |  | Rate only
6 mm² 2c 1000/600 volt Cu / PVC / SWA+ECC/PVC cable
3.2.49 |  | Supply and delivery | No. | 1 |  | Rate only
3.2.50 |  | Installation | No. | 1 |  | Rate only
Total carried forward
Total brought forward
6 mm² 4c 1000/600 volt Cu / PVC / SWA+ECC/PVC cable
3.2.51 |  | Supply and delivery | No. | 1 |  | Rate only
3.2.52 |  | Installation | No. | 1 |  | Rate only
10 mm² 4c 1000/600 volt Cu / PVC / SWA+ECC/PVC cable
3.2.53 |  | Supply and delivery | No. | 1 |  | Rate only
3.2.54 |  | Installation | No. | 1 |  | Rate only
16 mm² 4c 1000/600 volt Cu / PVC / SWA+ECC/PVC cable
3.2.57 |  | Supply and delivery | No. | 1 |  | Rate only
3.2.58 |  | Installation | No. | 1 |  | Rate only
TRUNKING, SLEEVES AND CONDUITS
3.2.59 |  | 20 mm Diameter
3.2.60 |  | Supply and delivery | m | 400
3.2.61 |  | Install | m | 400
3.2.62 |  | 25 mm Diameter
3.2.63 |  | Supply and delivery | m | 50
3.2.64 |  | Install | m | 50
32 mm Diameter
3.2.65 |  | Supply and delivery | m | 10
3.2.66 |  | Install | m | 10
50mm round conduit box as specified placed in position for casting in concrete, building or chasing into brickwork or surface mounting.
3.2.67 |  | Supply and delivery | No. | 50
3.2.68 |  | Install | No. | 50
100 x 50 x 50 mm wall box as specified placed in positon for casting in concrete, building or chasing into brickwork.
3.2.69 |  | Supply and delivery | No. | 5
3.2.70 |  | Install | No. | 5
100 x 100 x 50 mm wall box as specified placed in positon for casting in concrete, building or chasing into brickwork.
3.2.71 |  | Supply and delivery | No. | 5
3.2.72 |  | Install | No. | 5
3.2.73 |  | Blank cover plate for 50 mm round box with metal screws
Total carried forward
Total brought forward
3.2.74 |  | Supply | No. | 5
3.2.75 |  | Install | No. | 5
Blank cover plate for 50 x 100 mm box with metal screws
3.2.76 |  | Supply | No. | 1 |  | Rate only
3.2.77 |  | Install | No. | 1 |  | Rate only
Blank cover plate for 100 x 100 mm box with metal screws
3.2.78 |  | Supply | No. | 1 |  | Rate only
3.2.79 |  | Install | No. | 1 |  | Rate only
EARTHING SYSTEM
3.2.80 |  | Test and Confirm that the existing Earthing is sufficient and in accordance with SANS 10142-2 | Sum | 1
BONDING
3.2.81 |  | Bond the proposed water main to the adjacent down conductor. All water pipes, hand basins, sinks, baths, aluminium gutters, aluminium roof sheeting and rain water pipes shall be bonded. | Sum | 1
EARTHING AND LIGHTNING PROTECTION SYSTEM
70 mm² insulated stranded copper down conductor including all fixing accessories.
3.2.82 |  | Supply and delivery | m | Rate only
3.2.83 |  | Install | m | Rate only
70 mm² bare stranded copper including all fixing accessories.
3.2.84 |  | Supply and delivery | m | Rate only
3.2.85 |  | Install | m | Rate only
70 mm² insulated stranded copper terminations i.e. tinned lugs.
3.2.86 |  | Supply and delivery | No. | Rate only
3.2.87 |  | Install | No. | Rate only
Bi- metallic bonded test joint between aluminium conductor and copper conductor including connections.
3.2.88 |  | Supply and delivery | No. | Rate only
3.2.89 |  | Install | No. | Rate only
Caternary earth bonding clamp/s
3.2.90 |  | Supply and delivery | No. | Rate only
3.2.91 |  | Install | No. | Rate only
Total carried forward
Total brought forward
Flush mounted S15 Duo weatherproof york box test complete with PVC sliding lid and stainless steel screws (mounted at 300mm Above final floor ground level)
3.2.92 |  | Supply and delivery | No. | Rate only
3.2.93 |  | Install | No. | Rate only
1.8m [min] x 16mm diameter solid copper earth electrodes driven into the ground, complete with brass coupling between rods (Bearing Approved Standard Mark)
3.2.94 |  | Supply and deliver | No. | Rate only
3.2.95 |  | Install | No. | Rate only
50 mm² Aluminium roof conductor installed on roof including all fixing accessories
3.2.96 |  | Supply and delivery | m | Rate only
3.2.97 |  | Install | m | Rate only
Brass ferrules to steel reinforcing
3.2.97 |  | Supply and deliver | No. | Rate only
3.2.98 |  | Install | No. | Rate only
25mm bosal conduit including fittings to complete the installation
3.2.98 |  | Supply and delivery | m | Rate only
3.2.99 |  | Install | m | Rate only
GENERAL
3.2.100 |  | Recessed mounted Telephone and Data points at 300mm AFFL including all accessories | ea | Rate only
TESTING & COMMISSIONING
3.2.100 |  | Test and commission the complete installation including Telkom & Data DB, Electrical DB's, Earthing and Lightning protection, airconditioning system, extraction system, the handing in of all test results (Certificates Of Compliance) to the Engineer to required standards and specification | Sum | 1
3.2.101 |  | As Built Documention to client requirements and training including manuals [min 4 personnel] | Sum | 1
3.2.102 |  | The contractor shall allow for all items not specifically mentioned above in order to provide a complete working solution as per the specifications with all required documents like manuals where necessary | Sum | 1
Total Carried Forward to Summary

## Section 3.3 Plumbing
SAFDA FARM MANAGEMENT SERVICES COMPANY (PTY) LTD |  |  | SECTION 3: Plumbing
TENDER NO.: 10969/1/2/C1
MKHUZE RAIL SIDING PROJECT - PHASE 2 |  |  | DECEMBER 2020
Item No | Payment | Description | Unit | Qty | Rate | Amount
Refers
3.3 |  | SEWER RETICULATION
Pipes & Fittings
All fittings, rodding eyes, connections, bends, gulleys, vents, vent stacks, vent pipes, traps, etc. shall be supplied in the pipes price.
3.3.1 |  | 50 dia uPVC pipe class 9 - in cavities, walls, underslung and in trenches | m | 35
3.3.2 |  | 110 dia uPVC Class 9 ( UG-pipe) - in cavities, walls, underslung and in trenches | m | 92
3.3.3 |  | 110 dia uPVC Class 9 SV-pipe - in cavities, walls, underslung and in trenches | m | 15
DOMESTIC WATER SUPPLY
Pipes to SANS 460. All fittings and ancillary equipment such as Tees, elbows, bends, reducers, couplings, fixing into postion, brackets, valves and insulation where applicable shall be included in the piping prices
3.3.4 |  | 15 mm Copper Pipe Class 2 | m | 57
3.3.5 |  | 22 mm Copper Pipe Class 2 | m | 120
3.3.6 |  | 28 mm Copper pipe Class 2 | m | 55
APPLIANCES AND FIXTURES
All fittings and ancillary equipment such as Tees, elbows, bends, reducers, couplings, fixing into postion, brackets, and insulation where applicable shall be included in the prices
3.3.7 |  | 400 liter geyser, complete with Valve, drain cork and vacumme breakers | No | 1
3.3.8 |  | 7.2 kW heat pump | No | 1
3.3.9 |  | Shower Doors | No. | 3
3.3.10 |  | Wash Hand Basin | No. | 5
3.3.11 |  | Supply and install Cobra basin mixers, or similar approved | No. | 5
Total carried forward
Total brought forward
3.3.12 |  | Urinal | No. | 1
3.3.13 |  | supply and install, junior flush master, complete | No. | 1
3.3.14 |  | Vaal Toilet complete, including seats | No. | 4
3.3.15 |  | 50mm Brass, shower Traps | No. | 3
3.3.16 |  | Deavy duty shower base, complete with sealing and leveling into final position | No. | 3
3.3.17 |  | Supply and install shower mixers including standard shower arm and shower rose | No. | 3
3.3.18 |  | Supply and install 15m angle valves | No. | 14
Total Carried Forward to Summary

## Section 3.4 -Sewer Gravity Main
SAFDA FARM MANAGEMENT SERVICES COMPANY (PTY) LTD |  |  | SECTION 3: Sewer Gravity Mai SM
TENDER NO.: 10969/1/2/C1
MKHUZE RAIL SIDING PROJECT - PHASE 2 |  |  | DECEMBER 2020
Item No | Payment | Description | Unit | Qty | Rate | Amount
Refers
3.4 |  | SECTION 3: SEWER GRAVITY MAIN
EARTHWORKS
| SABS 1200DB | Site Clearance
3.4.1 | 8.3.1(a) | Clear vegetation, grass, shrubs, etc. and trees of girth up to 1m and remove, stockpile, maintain/ preserve and reinstate topsoil (150mm deep) shrubs, trees and grass along route of sewers | m | 220
Excavation
3.4.2 | 8.3.2(a) PSDB 1 | Excavate in all materials by hand for trenches, backfill, compact and dispose of surplus material, for pipes up to 250mm in diameter for depth:
• Rates to include for tunnelling under fences and trees
• Rates to include shoring where required by regulation
• Rates to include for crossing and adjoining services with due care and attention
• Rates to include supporting/bracing of electrical and telephone poles where required
• Rate to include careful removal of block paving and storage until reuse
Over Up to and including
|  | a) 0,00 1,25m | m | 40
|  | b) 1,25 1,50m | m | 45
|  | c) 1,50 2,00m | m | 5
|  | d) 2,00 2,50m | m | 5 |  | Rate Only
|  | e) 2,50 3,00m | m | 5 |  | Rate Only
3.4.3 | 8.3.2(a) PSDB 1 | Excavate in all materials by machine for trenches, backfill, compact and dispose of surplus material for pipes up to 250mm in diameter for depths:
Over Up to and including
|  | a) 0,00 1,25m | m | 25
|  | b) 1,25 1,50m | m | 20
|  | c) 1,50 2,00m | m | 25
|  | d) 2,00 2,50m | m | 10
|  | e) 2,50 3,00m | m | 10
|  | f) 3,00 3,50m | m | 5
|  | g) 3,50 4,00m | m | 5 |  | Rate only
|  | h) 4,00 4,50m | m | 5 |  | Rate only
|  | i) 4,50 5,00m | m | 5 |  | Rate only
Total carried forward
Total brought forward
3.4.4 | 9/3/2(b) | Extra over item 3.3 and 3.4 for excavation in intermediate material | m³ | 25
3.4.5 | 8.3.2(c) | Excavate unsuitable material from trench bottom and dispose of it (to spoil) (Prov.) | m³ | 10
3.4.6 | PSDB 14 | Hand excavate and backfill in all material to prove existing services to a maximum depth of 1,5m | m³ | 25
EXCAVATION ANCILLARIES
3.4.7 | SABS 1200LB 8.2.1 | Provision of bedding from trench excavation of:
|  | a) Selected granular material | m³ | 20
|  | b) Selected fill material | m³ | 20
3.4.8 | 8.2.2.3 | Provision from commercial or off-site sources where ordered by the Engineer (Prov.)
|  | a) Selected granular material | m³ | 40
|  | b) Selected fill material | m³ | 15
|  | c) 10mm crushed stone (Prov.) | m³ | 10
|  | d) Supply and lay A2 type bidim in trench 0,8m wide | m | 50
3.4.9 | SABS 1200DB 8.3.3.3 | Compaction in road reserves compacted to 95% MOD AASHTO max. density (only subjected to traffic loading) | m³ | 10
3.4.1 | 8.3.6.1 | Reinstate road surfaces complete with all courses. (Rate to include reinstatement of kerbing and road markings)
|  | a) 150mm thick G5 subbase and 150mm thick G2 base compacted to 95% and 100% MOD AASHTO max. density respectively | m² | 12
|  | b) MC30 cut back bitumen prime applied at a rate of 0.7 litre/sq.m | m² | 12
|  | c) 30mm thick asphalt carpet | m² | 12
|  | d) block paving (reuse existing) | m² | 12
| SABS 1200LD | PIPEWORK
3.4.11 | 8.2.1 | Supply, bed, lay, joint and air test heavy duty solid wall sewer pipe - uPVC
|  | a) 160 mm diameter | m | 220
Total carried forward
Total brought forward
| SABS 1200LD | MANHOLES
3.4.12 | 8.2.3 | Supply and construct 1m diameter standard precast concrete manholes complete with light duty precast concrete cover and frame to invert:
Over Up to and including
|  | a) 0,00 1,25m | No. | 1
|  | b) 1,25 1,50m | No. | 2
|  | c) 1,50 2,00m | No. | 2
|  | d) 2,00 2,5m | No. | 1
|  | c) 2,50 3,00m | No. | 1 |  | Rate only
|  | d) 3,00 3,5m | No. | 1 |  | Rate only
3.4.13 | PSLD 19 8.2.4 | Extra over Item 3.12 for :
|  | a) Heavy duty concrete cover and frame | No. | 3
|  | b) Additional benching for Ramp manhole (over 500mm and up to 1000mm) | No. | 1
|  | c) Type 2A solid cast iron top manhole cover and frame | No. | 2
MISCELLANEOUS
3.4.14 |  | Tie into existing manhole (allow for breaking in, benching and dealing with live sewer) | No. | 1
3.4.15 |  | Suppy and install 315 PE 100 HDPE (PN 10) sleeve for the 160mmØ sewer pipe | m | 12
Total Carried Forward to Summary

## Section 3.5-Water Main
SAFDA FARM MANAGEMENT SERVICES COMPANY (PTY) LTD |  |  | SECTION 3: Water Main
TENDER NO.: 10969/1/2/C1
MKHUZE RAIL SIDING PROJECT - PHASE 2 |  |  | DECEMBER 2020
Item No | Payment | Description | Unit | Qty | Rate | Amount
Refers
3.5 |  | SECTION 4: WATER MAIN
EARTHWORKS
| SABS 1200C | Site Clearance
3.5.1 | 8.2.1 | a) Clear and grub vegetation and trees of girth up to 1m and remove, stockpile and reinstate topsoil (150mm deep) along route of pipeline | m | 220
3.5.2 | 8.2.6 | Remove and reinstate existing fences | m | 20
| SABS 1200DB | Excavation
Excavate by hand in all materials for:
3.5..3 | 8.3.2 (a) PSDB 1 | Trenches, backfill, compact and dispose of surplus/unsuitable material for pipes up to and including 75mm dia. For depths
• Rates to include for tunnelling under fences and trees
• Rates to include shoring where required by regulation
• Rates to include for crossing and adjoining services with due care and attention
• Rates to include for supporting/bracing of electrical and telephone poles where required
• Rates to include careful removal of block paving and storage until reuse
Over Up to and including
|  | a) 0,00 1,25 | m | 170
|  | b) 1,25 1,5 | m | 50
3.5..4 | 8.3.2(b) | Extra over Item 4.4 and 4.5 for excavation in intermediate material (Prov.) | m³ | 5
3.5..5 | 8.3.2 (c) | Excavate unsuitable material from trench bottom and dispose of it (Prov.) | m³ | 5
Excavation Ancillaries
3.5..6 | SABS 1200LB 8.2.1 | Provision of bedding from trench excavations
|  | a) Selected granular material | m³ | 20
|  | b) Selected fill material | m³ | 20
3.5..7 | 8.2.2.3 | Provision from commercial sources or off site, where ordered by the Engineer (Prov)
|  | a) Selected granular material | m³ | 40
|  | b) Selected fill materials | m³ | 15
3.5..8 | 8.2.4 | Concrete encasement to pipes in 15MPa concrete as directed by Engineer (Prov.) | m³ | 5
Total carried forward
Total brought forward
3.5..9 | SABS 1200DB 8.3.3.3 | Compaction in road reserves compacted to 95% MOD AASHTO to maximum density (only subjected to traffic loading) | m³ | 10
3.5..1 | 8.3.6.1 | Reinstate road surfaces complete with all courses:
|  | a) 150mm thick G5 sub-base and 150mm thick G2 base compacted to 95% and 100% MOD AASHTO maximum density respectively | m² | 12
|  | b) MC30 cut back bitumen prime applied at a rate of 0.7 litre sq.m | m² | 12
|  | c) 30mm thick asphalt carpet | m² | 12
| SABS 1200L 8.2.1 | Supply, deliver, handle, lay, bed, joint, test and disinfect in accordance with PSL HDPE pipe
• Rates to include for laying in sleeves where required
3.5.11 |  | Class 12:
|  | a) 75mm diameter | m | 220
|  | b) 50mm diameter | m | 10
Supply, deliver, handle, lay, bed, joint, uPVC pipe for sleeves
3.5.12 |  | Class 16:
|  | a) 250mm diameter uPVC | m | 12
| SABS 1200L | Specials and Fittings for HDPE Pipelines (All PN 16 Class)
| 8.2.2 | Supply, deliver, lay, bed, joint, test and disinfect. Extra over Item 4.14
3.5.13 |  | Female Adaptors
|  | a) 90mm diameter x 3" | No. | 1
|  | b) 75mm diameter x 2" | No. | 1
|  | c) 50mm diameter x 2" | No. | 1
|  | d) 50mm diameter x 1.5" | No. | 1
|  | e) 32mm diameter x 1" | No. | 1
3.5.14 |  | Male Adaptors
|  | a) 90mm diameter x 3" | No. | 1
|  | b) 75mm diameter x 3" | No. | 1
|  | c) 50mm diameter x 2" | No. | 1
|  | d) 32mm diameter x 1.5" | No. | 1
Total carried forward
Total brought forward
3.5.15 |  | Equal Tees
|  | a) 90mm diameter | No. | 1
|  | b) 75mm diameter | No. | 1
|  | c) 50mm diameter | No. | 1
3.5.16 |  | Reducing Tees
|  | a) 90 x 75mm diameter | No. | 1
|  | b) 75 x 50mm diameter | No. | 1
|  | c) 50 x 32mm diameter | No. | 1
3.5.17 |  | Straight Couplings
|  | a) 90mm diameter | No. | 2
|  | b) 75mm diameter | No. | 2
|  | c) 50mm diameter | No. | 2
|  | d) 32mm diameter | No. | 2
3.5.18 |  | Reducing Couplings
|  | a) 90 x 75mm diameter | No. | 1
|  | b) 75 x 50mm diameter | No. | 1
|  | c) 50 x 32mm diameter | No. | 1
3.5.19 |  | Flanged Adaptor
(Include for "Denso-wrapping" bolted connection in accordance with PSL16)
|  | a) 75 x 80mm diameter | No. | 1
|  | b) 75 x 75mm diameter | No. | 1
|  | c) 50 x 50mm diameter | No. | 1
3.5.2 |  | End Caps
|  | a) 90mm diameter | No. | 2
|  | b) 75mm diameter | No. | 1
|  | c) 50mm diameter | No. | 1
3.5.21 |  | Bends - 90 degree
|  | a) 90mm diameter | No. | 2
|  | b) 75mm diameter | No. | 1
|  | c) 50mm diameter | No. | 1
3.5.22 |  | Bends - 45 degree
|  | a) 90mm diameter | No. | 2
|  | b) 75mm diameter | No. | 1
|  | c) 50mm diameter | No. | 1
Total carried forward
Total brought forward
3.5.23 |  | Saddles
Clamp Saddles with reinforced ring and flat gasket
|  | a) 90 x 1" | No. | 1
|  | b) 75 x 1" | No. | 1
|  | c) 50 x 1" | No. | 1
|  | d) 50 x ½" | No. | 1
| 8.2.2 | STEEL PIPES AND FITTINGS
Unless otherwise specified, all steel pipes and specials in this section shall be Grade B SABS 719, with a wall thickness of 4,5mm. All pipes and fittings to have an internal and external coating of 'Rilsan' - rates to include for 'Denso Wrapping' buried bolted connections to specifications flanged to Table 1000/3 SABS 1123 unless otherwise specified
3.5.25 |  | TEES
|  | a) 110 x 80mm dia steel reducing tee flanged all ends | No. | 1
3.5.26 |  | REDUCERS
|  | a) 110 x 80mm dia steel reducer F.B.E | No. | 1
3.5.27 |  | COUPLINGS
|  | a) 110mm dia. 'Maxifit' VJ couplings OSA | No. | 2
3.5.28 |  | FLANGE ADAPTORS
|  | a) 110mm dia. SG iron flange adaptor | No. | 2
|  | b) 90mm dia. SG iron flange adaptor | No. | 2
VALVE INSTALLATIONS
3.5.29 | 8.2.3 | Supply and install resilient seal gate valve with cap top as detailed on Drg. No. 10969-001-002-GSD-0002
|  | a) 80mm dia. Class 10 (flanged) | No. | 1
Isolating Valve Chamber
3.5.30 | 8.2.13 | Supply all materials and construct isolating valve chamber complete as detailed on Drg. No. 10969-001-002-GSD-0002 including covers, support blocks, locking bar, marker post, etc.
Over Up to and including
|  | a) 0,00 1,25m | No. | 1
Total carried forward
Total brought forward
| SABS 1200L 8.2.11 | ANCHOR/THRUST BLOCKS
Construct anchor/thrust blocks to Drg. 10206/1/12
3.5.31 |  | For tees and 90 degree bends:
|  | a) 110mm diameter | No. | 2
3.5.32 |  | For 45 degree and lesser bends:
|  | b) 110mm diameter | No. | 2
3.5.33 |  | Supply materials and construct a 15mm stand tap at the 10969/1/xxxx. Rate to include for connection from the new watermain. | No. | 1
Total Carried Forward to Summary

## Section 3.6-P-Dayworks
SAFDA FARM MANAGEMENT SERVICES COMPANY (PTY) LTD |  |  | SECTION 3: DAYWORKS
TENDER NO.: 10969/1/2/C1
MKHUZE RAIL SIDING PROJECT - PHASE 2 |  |  | DECEMBER 2020
Item No | Payment | Description | Unit | Qty | Rate | Amount
Refers
SECTION 6: DAYWORKS
3.6.1 |  | LABOUR
|  | a) Foreman | hour | 16
|  | b) Skilled | hour | 16
|  | c) Semi-skilled | hour | 16
|  | d) Unskilled | hour | 16
3.6.2 |  | PLANT (LARGE)
|  | a) TLB - 50kW | hour | 10
|  | b) TLB (4x4) - 56kW | hour | 10
|  | c) Tip Truck - 6m³ | hour | 10
|  | d) Tip Truck (double diff) 10m³ | hour | 10
|  | e) Flat truck with crane | hour | 20
3.6.3 |  | OTHERS (Contractor to specify):
|  | a) ………………. | hour | - - -
|  | b) ……………….. | hour | - - -
|  | c) ……………….. | hour | - - -
3.6.4 |  | PLANT (SMALL)
|  | a) Pedestrian vibrating roller (Bomag 60 or similar) | hour | 10
|  | b) Pneumatic breakers/jack hammers | hour | 10
|  | c) Plate compactor | hour | 10
|  | d) Concrete cutting saw | hour | 10
|  | e) Water pump - 4" | hour | 10
|  | f) Compressors (250 CFM or similar) | hour | 10
|  | g) Generator | hour | 25
|  | h) 15 ton jib crane | hour | 5
|  | i) Water pump - 5000l/hour capacity to dewater | hour | 8
|  | j) 10m² working scaffold 3m high | hours | 10
3.6.5 |  | OTHERS (CONTRACTOR TO SPECIFY)
|  | a) …Vandex sealant | Sum | 1
|  | b) ………………………………… | hour | - - -
|  | c) ………………………………… | hour | - - -
|  | d) …………………………………. | hour | - - -
Total Carried Forward to Summary

## Sec 3.7 Diesel Gen
SAFDA FARM MANAGEMENT SERVICES COMPANY (PTY) LTD |  |  | SECTION 3: DIESEL BUND AREA
TENDER NO.: 10969/1/2/C1
MKHUZE RAIL SIDING PROJECT - PHASE 2 |  |  | DECEMBER 2020
Item No | Payment | Description | Unit | Qty | Rate | Amount
Refers
3.7 |  | Generator Roof Structure
FORMWORK
Rough formwork
3.7.1 |  | Steel Roof Bases | m² | 4.8
3.7.2 |  | 800x250mm Strip footings | m² | 10
REINFORCEMENT
High Tensile steel bars - All diameters
3.7.3 |  | Foundation Base 1m x 1m x 300mm thick | kg | 180
3.7.4 |  | 800x250mm Strip footings | kg | 480
CONCRETE
Strength Concrete 30 MPa / 19mm
3.7.5 |  | Foundation Base 1m x 1m x 300mm thick | m3 | 1.2
3.7.6 |  | Reinstate Surfacebed 200mm Thick | m3 | 3.2
3.7.7 |  | 800x250mm Strip footings | m3 | 3.2
UNFORMED FINISHES
Wood float finish
3.7.8 |  | Surfacebed | m² | 16
3.7.9 |  | Foundation Base | m² | 17
STRUCTURAL STEEL
3.7.10 |  | Hot Dipped Galvanised 150x75x20x2.5 CFLC | m | 14
3.7.11 |  | Hot Dipped Galvanised Bracing 60x60x6EA | m | 18
3.7.12 |  | Hot Dipped Galvanised 180IPE column and beams with connection plates | kg | 330
ROOF
3.7.13 |  | Supply and install 0.8 chromodeck IBR sheeting including all fixings | m² | 21
3.7.14 |  | Flashing 462mm girth to match "IBR 686" roof sheeting as per manufactures specification and detail complete | m | 20
3.7.15 |  | Supply and install new 150x100 zinculume rolled gutters | m | 7
3.7.16 |  | Supply and install new Downpipes | No | 2
BRICKWORK
3.7.17 |  | 230mm clay brick wall, plastered and painted both sides | m² | 54
DOORS AND WINDOWS
3.7.18 |  | 2.5m x 2.5m steel doors to later specification | Prov Sum | 1 | 10000 | 10000
Total Carried Forward to Summary

## Sec 3.8 Building Refurb Arch
SAFDA FARM MANAGEMENT SERVICES COMPANY (PTY) LTD |  |  | SECTION 3: BUILDING REFURBISHMENT
TENDER NO.: 10969/1/2/C1
MKHUZE RAIL SIDING PROJECT - PHASE 2 |  |  | DECEMBER 2020
Item No | Payment | Description | Unit | Qty | Rate | Amount
Refers
3.8 |  | PRELIMINARY AND GENERAL
Establishment of facilities on site:
Facilities for the Contractor
3.8.1 |  | Office, storage shed, fencing, etc | Item | 1
3.8.2 |  | Ablution and latrine facilities | Item | 1
3.8.3 |  | Water supplies, electric power and communications, dealing with water and access | Item | 1
3.8.4 |  | Tools and equipment | Item | 1
3.8.5 |  | Remove all site establishment on completion including equipment store | Item | 1
General Safety, Safety Plan, Monitoring and Review
3.8.6 |  | The sum shall include all costs necessary in complying with the Occupational Health and Safety Act (1998 as amended) and the Construction Regulation 2014 and the eThekwini Health and Safety requirements | Item | 1
3.8.7 |  | Compliance with Environmental Management Plan (Note: Access plan to be developed in conjunction with the ECO and allowed for in rates) | Item | 1
REMOVAL OF EXISTING WORK
Demolishing and removing
3.8.5 |  | Cleaning of building from all, vegetation, rubbish, dilapidated building materials, etc to site located by contractor | Item | 1
Break down and remove masonry
3.8.6 |  | 230mm Brick walls | m² | 40
Hack up/off and remove granolithic, screeds or plaster from concrete or masonry and prepare surfaces for new screeds or plaster
3.8.7 |  | 30mm Screeds from floors | m² | 200
PREPARATORY WORK TO EXISTING SURFACES
MASONRY
SUPPLEMENTARY PREAMBLES
BRICKWORK
Hollow walls
Descriptions of hollow walls shall be deemed to include leaving every fifth perpend of the bottom course and above lintels of the external skin open as a weep hole
Total carried forward
Total brought forward
Lintels
Lintels shall bear at least 250mm onto adjacent walling. Where such bearing cannot be obtained due to the proximity of adjacent openings the lintel shall be continuous
Pointing
Descriptions of recessed pointing to fair face brickwork shall be deemed to include square recessed, hollow recessed, weathered pointing, etc
FACE BRICKWORK
General
Bricks shall be ordered timeously to obtain uniformity in size and colour
Pointing
Descriptions of recessed pointing to face brickwork shall be deemed to include square recessed, hollow recessed, weathered pointing, etc
SAMPLES
Samples of all masonry building units, except those for walls described as "load bearing", shall consist of a minimum of 6 units. Samples of building units to be used in walls described as "load bearing" shall consist of 30 units from every 30 000 units delivered to site
MISCELLANEOUS
BRICKWORK
SUPERSTRUCTURE
Brickwork of common clay bricks
3.8.8 |  | 110mm Walls | m² | 15
3.8.9 |  | 230mm Walls | m² | 76
BRICKWORK SUNDRIES
Galvinized brickwork reinforcement
3.8.10 |  | 75mm Wide reinforcement built in horizontally | m | 50
3.8.11 |  | 150mm Wide reinforcement built in horizontally | m | 18
Prestressed concrete fabricated lintels
3.8.12 |  | 110 x 70mm Lintels in lengths not exceeding 3m | m | 1.2
Total carried forward
Total brought forward
FACE BRICKWORK
Facebricks to match existing red brick, pointed with recessed vertical and horizontal joints
3.8.13 |  | Extra over brickwork for face brickwork | m2 | 20
CARPENTRY AND JOINERY
DOORS, ETC
Semi-solid flush doors hung to aluminium frames suitable for partitions
3.8.14 |  | 40mm Door 0.9 x 2.4m high (D2) | No | 1
Semi-solid Meranti double swing doors hung to timber frames
3.8.15 |  | 40mm Door 0.9 x 2.1m high (D4) | No | 1
Semi - Solid flush doors with aluminium louvre hung to timber frames
3.8.16 |  | 40mm Door 0.9 x 2.1m high (D5) | No | 3
Semi - Solid flush doors hung to timber frames
3.8.17 |  | 40mm Door 0.765 x 2.1m high (D6) | No | 4
Solid flush Meranti doors hung to timber frames
3.8.18 |  | 40mm Door 0.9 x 2.1m high (D7) | No | 1
CEILINGS, PARTITIONS AND ACCESS FLOORING
For preambles see "Model Preambles for Trades"
SUPPLEMENTARY PREAMBLES
Descriptions
Items described as "nailed" shall be deemed to be fixed with hardened steel nails or pins or shot pinned to masonry or concrete
Items described as "plugged" shall be deemed to include screwing to fibre, plastic or metal plugs at not exceeding 600mm centres, and where described as "bolted", the bolts are measured elsewhere
Sub-grids
Sub-grids for suspended ceilings shall be deemed to include for the design, supply and erecting of a stable horizontal gridwork of galvanised steel "Burgess" channels at centres suitable to carry the ceilings and for positive fixing thereof to structural steel members at not exceeding 5.00m centres and exceeding 3m and not exceeding 4m below the steel members
Total carried forward
Total brought forward
Proprietary suspended ceilings
Hangers, suspension grids, "lay-in" panels, etc are to be in accordance with the manufacturers' recommendations
Electrical light fittings, diffusers, panels etc are generally "lay-in" units of the same dimensions as the suspension grid described and allowance must be made in the rates accordingly for their support inclusive of any flexibility in setting out that may be required (ceiling panels have not been deducted and pricing is to take cognisance thereof)
Flush plastered gypsum plasterboard suspended ceilings
Ceilings shall comprise screw-up galvanised steel suspension grid consisting of main tees at 1.20m centres, cross tees at centres to suit the thickness of the boards and covered as described with plasterboard screwed to grid with 25mm "Drywall" screws at maximum 220mm centres. Boards shall be butt jointed and finished with tape and jointing compound and the whole finished with gypsum plaster trowelled to a smooth polished surface to the thickness recommended by the manufacturer
The grid shall be suspended by means of galvanised steel angle hangers at suitable centres, securely shot pinned or screwed to concrete, steel or wood
"Saint-Gobain GypRoc" partition systems
"GypWall" drywall partitioning shall comprise of 63.5mm galvanised steel top and bottom tracks with 63.5mm galvanised steel vertical studs at maximum 600mm centres, friction fitted or pop riveted to the top and bottom tracks with similar additional vertical studs as necessary at abutments, ends, etc and covered as described with taper edged "Rhino" board screwed to studding with 25mm "Drywall" screws at maximum 220mm centres. Boards are to be butt jointed and taped and jointed all in accordance with the manufacturer's instructions. Intersections and abutments are measured separately and descriptions shall be deemed to include any additional studs, corner beads, jointing compound, tape, etc
Note: Wall paper and/or paint and varnish finishes are measured elsewhere
12.5mm "Saint Gobain Gyproc" Standard skimmed Rhynoboard ceiling system, including necessary hangers, holding down clips, etc
3.8.19 |  | Horizontal ceilings suspended exceeding 1m below wall plates | m² | 40
3.8.20 |  | Circular cutting | m | 12
Total carried forward
Total brought forward
OFFICE PARTITIONS
"Siant -Gobain" Gyproc Classic walll system with one layer of 12.5mm boards on both sides
3.8.21 |  | Partitions 2.90m high with bottom track nailed and top track fitted with standard aluminium channel cappings including aluminium door frame and fixed to suspended ceiling tees | m | 20
IRONMONGRY, FENESTRY, ETC
SUPPLEMENTARY PREAMBLES
Fixing
Ironmongery shall be deemed to include for fixing to wood, metal, masonry or concrete with stainless steel screws or bolts, including drilling and fibre, plastic or metal plugs where applicable
Descriptions
Descriptions of bolts shall be deemed to include nuts and washers.
Descriptions of expansion anchors and bolts and chemical anchors and bolts shall be deemed to include nuts, washers and mortices in masonry or concrete
Metalwork described as "holed for bolt(s)" shall be deemed to exclude the bolts unless otherwise described
Finishes to ironmongery
Where applicable finishes to ironmongery are indicated in accordance with the following list: BS Satin bronze lacquered CH Chromium plated SC Satin chromium plated SE Silver enamelled GE Grey enamelled AS Anodised silver AB Anodised bronze AG Anodised gold ABL Anodised black PB Brass PL Polished brass PT Epoxy coated SD Sanded SS Stainless steel
Aluminium windows, doors, etc
The work includes for the supply, setting up, fixing in position of windows, doors, etc to masonry or concrete, ironmongery, "Jaycomastic" sealant all round on both sides and for glazing as described
Total carried forward
Total brought forward
IRONMONGERY
Take delivery, store, etc and fix
3.8.22 |  | 100mm Hinge | No | 22
3.8.23 |  | Barrel bolt with keep fixed to metal | No | 2
3.8.24 |  | Mortice indicator bolt with keep fixed to metal | No | 5
3.8.25 |  | Mortice lockset | No | 5
3.8.26 |  | Rebated mortice lockset | No | 2
3.8.27 |  | Escutcheon | No | 12
3.8.28 |  | Pair of approximately 200mm lever door handles fixed back to back | No | 7
3.8.29 |  | Door closer with bracket | No | 5
3.8.30 |  | 200 x 400mm Stainless steel push plate | No | 5
ALUMINIUM WINDOWS, DOORS, SHOPFRONTS, ETC
charcoal powder coated Wispeco Casement 38 aluminium windows glazed in Intruderprufe Low E glass and in accordance SABS NBR0400 and plugged to brickwork or concrete
3.8.31 |  | Window size1.2 x 1.5m high | No | 5
3.8.32 |  | Window size 2.4 x 1.5m high | No | 1
3.8.33 |  | Window size 0.6 x 0.6m high | No | 1
3.8.34 |  | Window size 1.8 x 0.6m high | No | 2
3.8.35 |  | Window size 2.4 x 1.5m high | No | 1
PLASTER
Finish
Internal plaster shall be finished with a steel trowel and external plaster with a wooden float
SPECIALIST PLASTER TYPE COATINGS
All specialist plaster type wall and floor coatings are to be executed in strict accordance with the manufacturer's instructions by an approved applicator
INTERNAL PLASTER
Cement plaster class II on masonry
3.8.36 |  | Walls | m² | 540
Total carried forward
Total brought forward
SPECIALIST PLASTER TYPE FLOOR COATINGS
Clear epoxy flooring
3.8.37 |  | Minimum 5mm thick on floors and landings | m² | 220
WALL TILING
Ceramic tiles fixed with adhesive to screeds (screeds elsewhere) on
3.8.38 |  | Walls | m² | 105
3.8.39 |  | Narrow widths | m² | 8
PLUMBING AND DRAINAGE
Stainless steel basins, sinks, wash troughs, urinals, etc
Stainless steel for economy basins, domestic sinks, worktops and wash troughs shall be type 430 (17/0)
Stainless steel for urinals, basins, quality sinks, wash troughs, institutional equipment, etc shall be type 304 (18/8)
Flush pans
Flush pans shall have straight or side outlets and "P" or "S" traps as necessary
Geyser installations
Geyser installations shall comply with SANS 10254
General
Descriptions of washdown pans, slop hoppers, grease traps, septic tanks, etc shall be deemed to include for joints to soil pipes (pan connectors measured separately)
Descriptions of all sanitary fittings shall be deemed to include for silicone sealant pointing between the fittings and finished wall surfaces
SANITARY FITTINGS
"Geberit"
3.8.40 |  | iCon wall hung WC including metal hinges | No | 4
3.8.41 |  | Kombifix element for wall hung WC 109cm with sigma concealed cistern 8cm | No | 4
3.8.42 |  | Actuator plate "Mambo" for stop and go flush | No | 4
3.8.43 |  | iCon washbasin for cabinet B60cm | No | 4
3.8.44 |  | Urinal preda with integrated control, mains operation | No | 1
Total carried forward
Total brought forward
TAPS, VALVES, ETC
"Cobra Watertech"
3.8.45 |  | 15mm 832/350F Angle valve with 350mm flexible hose connector | No | 6
3.8.46 |  | 15mm 139CP "Carina" undertile stoptap | No | 6
3.8.47 |  | 15mm 902CP "Focus" single taphole basin mixer with plug, chain, basin waste, mounting kit, angle valves and flexible inlets | No | 6
3.8.48 |  | 15mm 3351CP "Stella" wall type bath/shower diverter mixer with AP8.330W "Harlequin" handshower, wall bracket, hose and hose adaptor | No | 3
3.8.49 |  | 15mm 028CP Overhead shower arm | No | 3
3.8.50 |  | 15mm 077CP Shower rose | No | 3
3.8.51 |  | 32mm FM1.100CP "Flushmaster" exposed back entry toilet flushvalve | No | 5
WASTE UNIONS, ETC
"Cobra Watertech"
3.8.52 |  | 32mm 301CP basin waste union | No | 6
TRAPS, ETC
"Geberit"
3.8.53 |  | Bottle trap with dip tube for washbasin (151.034.21.1) | No | 6
"Flexitrap" rubber
3.8.54 |  | 32mm Plain "P" or "S" trap | No | 4
"Cobra Watertech"
3.8.55 |  | 75mm VA3.113CP urinal domical grating | No | 2
3.8.56 |  | 32mm 345/40CP bottle trap | No | 2
"Serra" stainless steel
3.8.57 |  | TR2 SD1310 toilet roll holder, plugged | No | 5
3.8.58 |  | SD1127 wall bin, plugged | No | 3
3.8.59 |  | SD1226 soap dispenser, plugged | No | 4
PAINTWORK
For preambles see "Model Preambles for Trades"
Total carried forward
Total brought forward
SUPPLEMENTARY PREAMBLES
Descriptions of paintwork shall be deemed to include for all cutting in
PREPARATORY WORK TO EXISTING SURFACES
Plaster or concrete surfaces
Surfaces shall be thoroughly cleaned down by high pressure water jet and allowed to dry completely before any paint is applied. Blistered or peeling paint shall be completely removed. All existing walls to be made good where damaged by removals, furniture, etc, and all screw and nail holes and cracks shall be opened, primed with plaster primer, filled with a suitable filler and finished smooth
Surfaces shall be thoroughly rubbed and cleaned down by means of grit blasting or wire brushing. Blistered or peeling paint, including all traces of corrosion, shall be completely removed down to bare metal
Previously painted wood surfaces
Surfaces shall be thoroughly cleaned down by scraping and sanding all loose and flaking paint. All dust and surface contamination are to be removed by wiping down. All exposed nail heads are to be punched in and primed with one coat metal primer. Holes, cracks and crevices shall be primed with wood primer, filled with wood stopping and finished smooth
Previously varnished/natural wood surfaces
Surfaces shall be thoroughly cleaned down with existing coatings removed by sanding and/or using paint remover. All residual paint remover and surface contamination are to be removed by washing down, allowed to dry and sandpapered to a uniformed surface. All exposed nail heads are to be punched in and primed with one coat metal primer. Holes, cracks and crevices shall be treated with woodcare pretreatment, filled with wood stopping and finished smooth
PAINT SPECIFICATIONS
All painting shall be done in accordance with "Plascon" specifications unless otherwise specified
COLOURS
Unless otherwise described paintwork on ceilings shall be deemed to be in the "White" colour group and paintwork on all other components shall be deemed to be in the "Pastel" colour group in accordance with the Natural Colour System (NCS) adopted by the SA National Standards
Total carried forward
Total brought forward
PAINTWORK, ETC TO NEW SURFACES ON
SMOOTH PLASTER OR CONCRETE SURFACES WITH
One coat alkali resistant plaster primer and universal undercoat and two coats double velvet (DC21-62) Ravine paint on
3.8.60 |  | Walls | m² | 550
PLASTER BOARD SURFACES WITH
One coat alkali resistant plaster primer and two coats superior matt acrylic paint on
3.8.61 |  | Partitions ("White" colour group) | m² | 20
PAINTWORK, ETC TO EXISTING SURFACES ON
SMOOTH PLASTER OR CONCRETE SURFACES WITH
One coat alkali resistant plaster primer and universal undercoat and two coats double velvet (Y5-E2-3) Amazon mist paint on work in sound condition on
3.8.62 |  | Walls | m² | 10
GLAZING
GLASS TOPS, SHELVES, DOORS, MIRRORS, ETC
5mm "Images" silver mirrors with polished edges holed for and fixed with chromium plated dome capped mirror screws with rubber buffers to plugs in walls
3.8.63 |  | Mirror 0.60 x 0.95m high with four screws | No | 6
Total Carried Forward to Summary

## SECT 4 C1GE - GEN ELEC
SAFDA FARM MANAGEMENT SERVICES COMPANY (PTY) LTD | [7 empty] | SECTION 4: GENERAL ELECTRICAL
TENDER NO.: 10969/1/2/C1 | [7 empty] | Cable
MKHUZE RAIL SIDING PROJECT - PHASE 2 | [6 empty] | DECEMBER 2020
ITEM | DESCRIPTION | LABOUR |  | UNIT | MATERIAL |  |  | MATERIAL & LABOUR TOTAL
|  | LABOUR UNIT RATE | TOTAL LABOUR COST |  | ESTIMATED QUANTITY | UNIT RATE | TOTAL MATERIAL COST
1 | LV Power Distribution
1.1 | Main Power Distribution Board and Hilo Spiller MCC
The supply of the distribution boards shall include all equipment, accessories, and internal wiring as specified on the single line diagram in accordance with the specification, handling, profit and delivery. The installation shall include the installation, connection, earthing and conduit terminations but excluding cable terminations.
1.1.1 | Design, supply and delivery to site of the Main Power Distribution Board and Hilo Spiller MCC |  |  | Sum | 1
1.1.2 | Rigging and floor mount installation of the Main Power Distribution Board and Hilo Spiller MCC into position in the Electrical Room |  |  | Sum | 1
1.1.3 | Incomer cable
Supply deliver to site and store 1000/600 volt Cu / PVC / SWA/PVC cables. Install, rack, strap and testing of cables as per specification including clamps, ties and cable numbering system. Rates to include for wastage. Contractor will only be reimbursed for installed cable measured on site between terminations. Cable bonding of all Earth Continuity Conductors from the incoming and outgoing cables will be properly crimped into cable lugs and bolted to their respective earth bars. Cable lengths are remeasurable.
1.1.3.1 | Supply and Install 95mm² 4C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable (Power) from Change Over panel to MCC |  |  | m | 5
For PVC/SWA/PVC cables, shall include supply installation and testing of the IP 65 glands with corrosion guard, making -off the cable, gland plate, switchgear or appliance and final connection of cable tails into board or terminals.
1.1.3.2 | Supply and Install 95mm² 4C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable termination |  |  | ea | 2
1.1.4 | 110 kW Hilo Spiller Hoist
1.1.4.1 | Supply and Install 50mm² 3C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable (Power) |  |  | m | 50
1.1.4.2 | Supply and Install 50mm² 3C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable termination |  |  | ea | 2
1.1.4.3 | Supply and Install 1.5mm² 7C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable (Control Panel) |  |  | m | 50
1.1.4.4 | Supply and Install 1.5mm² 7C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable termination |  |  | ea | 2
1.1.4.5 | Supply and Install 1.5mm² 2C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable (Thermistor) |  |  | m | 50
1.1.4.6 | Supply and Install 1.5mm² 2C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable termination |  |  | ea | 2
1.1.4.7 | Supply and Install 1.5mm² 2C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable (Heater) |  |  | m | 50
Total carried forward
Total brought forward
1.1.4.8 | Supply and Install 1.5mm² 2C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable termination |  |  | ea | 2
1.1.5 | 5.5 kW Spiller Retract
1.1.5.1 | Supply and Install 2.5mm² 3C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable (Power) |  |  | m | 50
1.1.5.2 | Supply and Install 2.5mm² 3C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable termination |  |  | ea | 2
1.1.5.3 | Supply and Install 1.5mm² 7C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable (Control Panel) |  |  | m | 50
1.1.5.4 | Supply and Install 1.5mm² 7C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable termination |  |  | ea | 2
1.1.6 | 5.5 kW Spiller Clamp
1.1.6.1 | Supply and Install 2.5mm² 3C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable (Power) |  |  | m | 50
1.1.6.2 | Supply and Install 2.5mm² 3C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable termination |  |  | ea | 2
1.1.6.3 | Supply and Install 1.5mm² 7C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable (Control Panel) |  |  | m | 50
1.1.6.4 | Supply and Install 1.5mm² 7C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable termination |  |  | ea | 2
1.1.7 | 5.5 kW Spiller Hoist Brake
1.1.7.1 | Supply and Install 2.5mm² 3C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable (Power) |  |  | m | 50
1.1.7.2 | Supply and Install 2.5mm² 3C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable termination |  |  | ea | 2
1.1.7.3 | Supply and Install 1.5mm² 7C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable (Control Panel) |  |  | m | 50
1.1.7.4 | Supply and Install 1.5mm² 7C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable termination |  |  | ea | 2
1.1.8 | Building DB supply cabling
1.1.8.1 | Supply and Install 35mm² 4C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable (Power) from PDB & MCC to Building DB |  |  | m | 5
1.1.8.2 | Supply and Install 35mm² 4C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable termination |  |  | ea | 2
1.1.8.3 | Supply and install 16mm² 1C Green and Yellow PVC earth cable from MCC earth bar to Building DB |  |  | m | 5
1.1.8.4 | Supply and install 16mm² 1C Green and Yellow PVC earth cable termination |  |  | ea | 2
Total carried forward
Total brought forward
1.1.9 | Weighbridge Control System DB supply cabling
1.1.9.1 | Supply and Install 35mm² 4C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable (Power) from PDB & MCC to Weighbridge Control System DB |  |  | m | 10
1.1.9.2 | Supply and Install 35mm² 4C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable termination |  |  | ea | 2
1.1.9.3 | Supply and install 16mm² 1C Green and Yellow PVC earth cable from MCC earth bar to Weighbridge Control System DB |  |  | m | 10
1.1.9.4 | Supply and install 16mm² 1C Green and Yellow PVC earth cable termination |  |  | ea | 2
1.1.10 | Diesel Generator Control Panel & Auxiliaries supply cabling
1.1.10.1 | Supply and Install 35mm² 4C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable (Power) from PDB & MCC to Diesel Generator CP |  |  | m | 20
1.1.10.2 | Supply and Install 35mm² 4C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable termination |  |  | ea | 2
1.1.10.3 | Supply and install 16mm² 1C Green and Yellow PVC earth cable from MCC earth bar to Diesel Generator CP |  |  | m | 20
1.1.10.4 | Supply and install 16mm² 1C Green and Yellow PVC earth cable termination |  |  | ea | 2
1.2 | Standby Diesel Generator
1.2.1 | Design, supply and delivery to site of the Diesel Generator, auxiliaries and Generator Control Panel |  |  | Sum | 1
1.2.2 | Rigging and installation of the Diesel Generator, auxiliaries and Generator Control Panel into position on the concrete base provided by others; |  |  | Sum | 1
1.2.3 | Supply and installation of all cable racking, cabling, earthing and terminations between the Diesel Generator, auxiliaries, Generator Control Panel; |  |  | Sum | 1
1.3 | Change Over Panel
1.3.1 | Design, supply and delivery to site of the Change Over panel |  |  | Sum | 1
1.3.2 | Rigging and wall mount installation of the Change Over panel in the Electrical Room |  |  | Sum | 1
1.3.1 | Eskom incomer cable
1.3.1.1 | Supply and Install 95mm² 4C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable (Power) from Eskom Supply to Change Over panel in cable trench/route provided by others |  |  | m | 200
1.3.1.2 | Supply and Install 95mm² 4C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable termination |  |  | ea | 2
1.3.1.3 | Supply and install 50mm² 1C Green and Yellow PVC earth cable from Eskom supply earth bar to MCC earth bar |  |  | m | 200
1.3.1.4 | Supply and install 50mm² 1C Green and Yellow PVC earth cable termination |  |  | ea | 2
Total carried forward
Total brought forward
1.3.2 | DG incomer cable
1.3.2.1 | Supply and Install 95mm² 4C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable (Power) from DG to Change Over panel in cable trench/route provided by others |  |  | m | 20
1.3.2.2 | Supply and Install 95mm² 4C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable termination |  |  | ea | 2
1.3.2.3 | Supply and install 50mm² 1C Green and Yellow PVC earth cable from DG earth bar to MCC earth bar |  |  | m | 20
1.3.2.4 | Supply and install 50mm² 1C Green and Yellow PVC earth cable termination |  |  | ea | 2
1.3.3 | DG control and status signals
1.3.3.1 | Supply and Install 1.5mm² 7C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable (Control Panel) |  |  | m | 20
1.3.3.2 | Supply and Install 1.5mm² 7C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable termination |  |  | ea | 2
1.4 | High Masts
Supply and installation of 25m galvanised mild steel scissors high mast inclusive of all templates holding down bolts, bracket to support 6 x 400W HPS Floodlights base mounting, all accessories, counterweights, reinforced concrete base, bolt cagesplitter box and controls in base, photocell,internal wiring, trailing cable,handling and delivery as specified. Feeder cable measured elsewhere.
1.4.1 | Design, supply and delivery to site of the High Masts including mast, cabling, luminaires and local mast mounted DB |  |  | ea | 3
The installation shall include for the use of all plant and cranes required to install mast as well as all mounting accessories, 60MPa grouting, 4 nuts and 2 washers per bolt in accordance with supplier's specifications.
1.4.2 | Rigging and installation of the High Masts into position on the concrete base provided by others |  |  | ea | 3
1.4.3 | High Mast supply cabling
1.4.3.1 | Supply and Install 25mm² 4C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable (Power) from PDB & MCC to High Mast DB's in cable trench/route provided by others |  |  | m | 200
1.4.3.2 | Supply and Install 25mm² 4C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable termination |  |  | ea | 6
1.4.3.3 | Supply and install 16mm² 1C Green and Yellow PVC earth cable from MCC earth bar to High Mast DB's |  |  | m | 200
1.4.3.4 | Supply and install 16mm² 1C Green and Yellow PVC earth cable termination |  |  | ea | 6
Total carried forward
Total brought forward
1.5 | Hilo Unloader (Spiller)
1.5.1 | Installation of the Control Panel on the Hilo Spiller |  |  | Sum | 1
1.5.2 | Design and construct a new control panel |  |  | Prov Sum | 1 | 150000
1.6.2 | Hilo Spiller local equipment control and status signals
1.6.2.1 | Supply and Install 1.5mm² 3C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable (Limit switches and actuators) |  |  | m | 60
1.6.2.2 | Supply and Install 1.5mm² 3C Cu 600/1000 V PVC/PVC/SWA/PVC + ECC cable termination |  |  | ea | 12
2 | EARTHING & LIGHTNING PROTECTION SYSTEM
2.1 | Allow for the execution of a soil resistivity survey and for the preparation of drawings to be used for earthing and protection against lightning and "As Built Drawings " (This installation must be undertaken by a specialist Sub-contractor )
2.2 | In Weighbridge
2.2.1 | Supply and install 70mm2 earth wire ring buried at 800mm depth |  |  | m | 90
2.2.2 | Supply and install 16 mm dia. 1500 mm long earth electrodes driven into ground including connections. |  |  | ea | 4
2.3 | Out Weighbridge
2.3.1 | Supply and install 70mm2 earth wire ring buried at 800mm depth |  |  | m | 90
2.3.2 | Supply and install 16 mm dia. 1500 mm long earth electrodes driven into ground including connections. |  |  | ea | 4
2.4 | Hilo Unloader (Spiller)
2.4.1 | Steel structure lightning protection system including air terminal, down conductor, earth terminal, earth spikes, joints etc. as required. |  |  | Sum | 1
2.5 | High Masts
2.5.1 | High mast lightning protection system including air terminal, down conductor, earth terminal, earth spikes, joints etc. as required. |  |  | Sum | 4
3 | Cable Racking and Supports
Supply and install heavy duty galvanised cable ladder system inclusive of all items such as steel brackets, supports, steel rawl bolts, bonding straps etc. required to install in accordance with manufacturers specification. Cable Ladder to be PW75 or similar
3.1 | 100mm Wide Cable Ladder (Straight) |  |  | m | 100
3.2 | 100mm Wide Cable Ladder (horizontal bends) |  |  | ea | 5
3.3 | 100mm Wide Cable Ladder (Internal Rise) |  |  | ea | 10
3.4 | 100mm Wide Cable Ladder (External Rise) |  |  | ea | 10
Total carried forward
Total brought forward
3.2 | 40x40x5mm Galvanised Angle Iron |  |  | m | 50
3.21 | 25mm Galvanised Conduit. Price incluve of mounting material and fittings |  |  | m | 30
4 | Fire protection of cables and cable entries into buildings
4.1 | Sealing off of all cable openings in the Electrical Room, floor entries etc. with pyro-coating flame proof seal and/or flame retardent expanding foam. Sealing off to be done by an certified installer. |  |  | Sum | 1
4.2 | Application of intumescent paint to all cables entering/exiting Electrical Room - to be applied 1m on either side of cable opening through the wall |  |  | Sum | 1
5 | CONSTRUCTION RECORD DRAWINGS
5.1 | Allow for the marking up of prints of the entire installation for the production of construction drawing records. The Engineer shall produce the final drawings. |  |  | Sum | 1
6 | ATTENDANCE
6.1 | Provide attendance to Supply Authority Staff and other Contractors during Construction. |  |  | Sum | 1
7 | SIGNS & LABELS
7.1 | Supply and install all power, lighting, and earthing signs and labels as specified and in accordance with all OHS Act requirements as well as per Supply Authority requirements. |  |  | Sum | 1
8 | TESTING & COMMISSIONING
8.1 | Test and commission the complete installation + Compliance Certificates, test results and quality documentation. |  |  | Sum | 1
8.2 | Post commissioning site visits |  |  | Sum | 1
8.3 | Focusing of floodlights at night |  |  | Sum | 1
9 | OPERATION MANUALS
9.1 | Supply as per project Specification ( 3 sets ) |  |  | Sum | 1
Total Carried Forward to Summary
0